## Sheet1
Status: | Saved
Report Configuration: | Workload Summary
Generated Time: | 5/13/2026 4:20:49 PM
Generated By: | NG MEI QI
Culture: | System Default
Institution Access: | Lenox Hill
Time Format: | 12 Hour
Notes:
Pre-aggregation dataset filters
Institutions: | Lenox Hill
Device Type In List (Results): | ACCU-CHEK® Inform II,Clinitek Status,i-STAT® 1
Result Time (Results): | Year To Date
Post-aggregation dataset filters
Device Type : | ACCU-CHEK® Inform II
Institution : | Lenox Hill
Total Count : | 45
Statistics | Location | Test Type | Patient Results | QC Results | Proficiency Results | Other Results | Total Results
| LH-9 EAST (Lenox Hill) | Glu | 6870 | 540 | 0 | 28 | 7438
| LH-5 EAST CCU (Lenox Hill) | Glu | 4198 | 818 | 0 | 24 | 5040
| LH-6 WOLLMAN LD (Lenox Hill) | Glu | 1473 | 835 | 0 | 14 | 2322
| LH-7 URIS (Lenox Hill) | Glu | 6113 | 749 | 0 | 25 | 6887
| LH-6 URIS WBN (Lenox Hill) | Glu | 928 | 799 | 0 | 24 | 1751
| LH-11 EAST CATH LAB (Lenox Hill) | Glu | 857 | 364 | 0 | 0 | 1221
| LH-7 EAST (Lenox Hill) | Glu | 4574 | 802 | 0 | 25 | 5401
| LH-10 PACU (Lenox Hill) | Glu | 580 | 253 | 0 | 0 | 833
| LH-8 EAST SICU (Lenox Hill) | Glu | 3410 | 522 | 0 | 12 | 3944
| LH-9 LACHMAN (Lenox Hill) | Glu | 3862 | 540 | 0 | 26 | 4428
| LH-ED (Lenox Hill) | Glu | 1410 | 531 | 0 | 12 | 1953
| LH-3 RADIOLOGY (Lenox Hill) | Glu | 553 | 602 | 0 | 0 | 1155
| LH-6 EAST MATERNITY (Lenox Hill) | Glu | 522 | 280 | 0 | 14 | 816
| LH-6 NICU (Lenox Hill) | Glu | 2410 | 1223 | 0 | 48 | 3681
| LH-10 SDA (Lenox Hill) | Glu | 677 | 212 | 0 | 0 | 889
| LH-7 LACHMAN (Lenox Hill) | Glu | 4418 | 601 | 0 | 24 | 5043
| LH-9 WOLLMAN (Lenox Hill) | Glu | 3249 | 577 | 0 | 24 | 3850
| LH-5 URIS PCU (Lenox Hill) | Glu | 6530 | 820 | 0 | 24 | 7374
| LH-4 URIS (Lenox Hill) | Glu | 6117 | 1096 | 0 | 0 | 7213
| LH-8 LACHMAN (Lenox Hill) | Glu | 3086 | 551 | 0 | 24 | 3661
| LH-ED TRIAGE (Lenox Hill) | Glu | 887 | 265 | 0 | 12 | 1164
| LH-9 URIS (Lenox Hill) | Glu | 1992 | 507 | 0 | 12 | 2511
| LH-11 EP LAB (Lenox Hill) | Glu | 132 | 381 | 0 | 0 | 513
| LH-8 WOLLMAN (Lenox Hill) | Glu | 2136 | 535 | 0 | 24 | 2695
| LH-5 LACHMAN (Lenox Hill) | Glu | 3041 | 527 | 0 | 24 | 3592
| LH-7 WOLLMAN (Lenox Hill) | Glu | 2466 | 513 | 0 | 24 | 3003
| LH- HYBRID OR (Lenox Hill) | Glu | 69 | 180 | 0 | 0 | 249
| LH-NURSING ED OFFICE (Lenox Hill) | Glu | 479 | 787 | 0 | 0 | 1266
| LH-2 EAST CARDIO (Lenox Hill) | Glu | 97 | 180 | 0 | 0 | 277
| LH-AMB SURG 2 (Lenox Hill) | Glu | 166 | 190 | 0 | 0 | 356
| LH-AMB SURG 1 (Lenox Hill) | Glu | 173 | 177 | 0 | 0 | 350
| LH-2 ENDOSCOPY (Lenox Hill) | Glu | 353 | 374 | 0 | 0 | 727
| LH-3 EAST DIALYSIS (Lenox Hill) | Glu | 61 | 235 | 0 | 0 | 296
| LH-6 URIS MATERNITY (Lenox Hill) | Glu | 90 | 254 | 0 | 12 | 356
| LH-2 URIS PEDS (Lenox Hill) | Glu | 5 | 152 | 0 | 0 | 157
| LH-8 URIS (Lenox Hill) | Glu | 535 | 291 | 0 | 12 | 838
| LH-ED FAST TRACK (Lenox Hill) | Glu | 142 | 251 | 0 | 0 | 393
| LH-ED SOUTH (Lenox Hill) | Glu | 385 | 254 | 0 | 0 | 639
| LH-4 LACHMAN (Lenox Hill) | Glu | 71 | 257 | 0 | 0 | 328
| LH-4 WOLLMAN EXEC (Lenox Hill) | Glu | 67 | 263 | 0 | 0 | 330
| LH-ED AMB TRIAGE (Lenox Hill) | Glu | 596 | 269 | 0 | 12 | 877
| LH-POCT OFFICE (Lenox Hill) | Glu | 2 | 4 | 0 | 0 | 6
| LH-5 WOLLMAN EXEC (Lenox Hill) | Glu | 38 | 62 | 0 | 0 | 100
| LHGV-NURSING ED (Lenox Hill) | Glu | 1 | 2 | 0 | 12 | 15
| LH-GV NURSING ED (Lenox Hill) | Glu | 0 | 2 | 0 | 0 | 2
Sum |  |  | 75821 | 19627 | 0 | 492 | 95940
Device Type : | i-STAT® 1
Institution : | Lenox Hill
Total Count : | 45
Statistics | Location | Test Type | Patient Results | QC Results | Proficiency Results | Other Results | Total Results
| LH-ISTAT RADIOLOGY (Lenox Hill) | Crea | 801 | 17 | 0 | 13 | 831
| LH-ISTAT RADIOLOGY (Lenox Hill) |  | 0 | 0 | 0 | 330 | 330
| LH-ISTAT CATH LAB (Lenox Hill) | ACT-K | 1752 | 63 | 0 | 10 | 1825
| LH-ISTAT CATH LAB (Lenox Hill) |  | 0 | 0 | 0 | 813 | 813
| LH-ISTAT EP LAB (Lenox Hill) | PTplus | 484 | 35 | 0 | 0 | 519
| LH-ISTAT EP LAB (Lenox Hill) | ACT-K | 1260 | 36 | 0 | 2 | 1298
| LH-ISTAT EP LAB (Lenox Hill) | CG8+ | 413 | 41 | 0 | 10 | 464
| LH-ISTAT CTICU (Lenox Hill) | CG8+ | 313 | 23 | 0 | 14 | 350
| LH-ISTAT EP LAB (Lenox Hill) | Crea | 376 | 32 | 0 | 13 | 421
| LH-ISTAT SDA (Lenox Hill) | CG8+ | 101 | 29 | 0 | 9 | 139
| LH-ISTAT CTICU (Lenox Hill) |  | 0 | 0 | 0 | 321 | 321
| LH-ISTAT PACU (Lenox Hill) |  | 0 | 0 | 0 | 63 | 63
| LH-ISTAT EP LAB (Lenox Hill) |  | 0 | 0 | 0 | 468 | 468
| LH-ISTAT SDA (Lenox Hill) |  | 0 | 0 | 0 | 267 | 267
| LH-ISTAT POCT (Lenox Hill) | ACT-K | 19 | 62 | 3 | 0 | 84
| LH-ISTAT POCT (Lenox Hill) |  | 0 | 0 | 0 | 132 | 132
| LH-ISTAT CATH LAB (Lenox Hill) | PTplus | 141 | 59 | 0 | 1 | 201
| LH-ISTAT RADIOLOGY (Lenox Hill) | ACT-K | 1 | 4 | 0 | 2 | 7
| LH-ISTAT RADIOLOGY (Lenox Hill) | CG8+ | 31 | 21 | 0 | 6 | 58
| LH-ISTAT HYBRID OR (Lenox Hill) |  | 0 | 0 | 0 | 694 | 694
| LH-ISTAT POCT (Lenox Hill) | CG8+ | 189 | 37 | 4 | 15 | 245
| LH-ISTAT PACU (Lenox Hill) | CG8+ | 9 | 0 | 0 | 3 | 12
| LH-ISTAT PACU (Lenox Hill) | ACT-K | 13 | 10 | 0 | 0 | 23
| LH-ISTAT CATH LAB (Lenox Hill) | Crea | 31 | 51 | 1 | 17 | 100
| LH-ISTAT HYBRID OR (Lenox Hill) | ACT-K | 2306 | 54 | 0 | 12 | 2372
| LH-ISTAT CATH LAB (Lenox Hill) | CG8+ | 39 | 2 | 1 | 16 | 58
| LH-ISTAT 10TH FL OR (Lenox Hill) | CG8+ | 93 | 8 | 0 | 3 | 104
| LH-ISTAT 10TH FL OR (Lenox Hill) |  | 0 | 0 | 0 | 112 | 112
| LH-ISTAT 10TH FL OR (Lenox Hill) | ACT-K | 165 | 8 | 0 | 0 | 173
| LH-ISTAT POCT (Lenox Hill) | Crea | 53 | 27 | 4 | 16 | 100
| LH-ISTAT CTA (Lenox Hill) | Crea | 422 | 8 | 0 | 6 | 436
| LH-ISTAT CTA (Lenox Hill) |  | 0 | 0 | 0 | 104 | 104
| LH-ISTAT SDA (Lenox Hill) | ACT-K | 6 | 2 | 0 | 0 | 8
| LH-ISTAT POCT (Lenox Hill) | PTplus | 0 | 16 | 5 | 0 | 21
| LH-ISTAT HYBRID OR (Lenox Hill) | CG8+ | 64 | 40 | 0 | 19 | 123
| LH-ISTAT SDA (Lenox Hill) | Crea | 16 | 0 | 0 | 9 | 25
| LH-ISTAT SDA (Lenox Hill) | PTplus | 1 | 0 | 0 | 0 | 1
| LH-ISTAT 10TH FL OR (Lenox Hill) | Crea | 5 | 0 | 0 | 3 | 8
| LH-ISTAT CTA (Lenox Hill) | CG8+ | 6 | 0 | 0 | 6 | 12
| LH-ISTAT PACU (Lenox Hill) | Crea | 5 | 0 | 0 | 3 | 8
| LH-ISTAT CTICU (Lenox Hill) | Crea | 15 | 2 | 0 | 6 | 23
| LH-ISTAT CTICU (Lenox Hill) | PTplus | 0 | 2 | 0 | 0 | 2
| LH-ISTAT CTICU (Lenox Hill) | ACT-K | 2 | 2 | 0 | 0 | 4
| LH-ISTAT CTA (Lenox Hill) | ACT-K | 0 | 2 | 0 | 0 | 2
| LH-ISTAT HYBRID OR (Lenox Hill) | Crea | 0 | 0 | 0 | 19 | 19
Sum |  |  | 9132 | 693 | 18 | 3537 | 13380
Device Type : | Clinitek Status
Institution : | Lenox Hill
Total Count : | 9
Statistics | Location | Test Type | Patient Results | QC Results | Proficiency Results | Other Results | Total Results
| LH-ED SOUTH (Lenox Hill) | Clinitest hCG | 459 | 283 | 0 | 0 | 742
| LH-ED NORTH (Lenox Hill) | Clinitest hCG | 246 | 265 | 0 | 0 | 511
| LH-2 ENDOSCOPY (Lenox Hill) | Clinitest hCG | 276 | 186 | 0 | 0 | 462
| LH-AMB SURG 1 (Lenox Hill) | Clinitest hCG | 145 | 191 | 0 | 0 | 336
| LH-10 SDA (Lenox Hill) | Clinitest hCG | 970 | 440 | 0 | 0 | 1410
| LH-3 RADIOLOGY (Lenox Hill) | Clinitest hCG | 43 | 169 | 0 | 0 | 212
| LH-ED NORTH (Lenox Hill) | Multistix 10 SG | 0 | 7 | 0 | 0 | 7
| LH-ED SOUTH (Lenox Hill) | Multistix 10 SG | 0 | 6 | 0 | 0 | 6
| LH-2 ENDOSCOPY (Lenox Hill) | Multistix 10 SG | 0 | 4 | 0 | 0 | 4
Sum |  |  | 2139 | 1551 | 0 | 0 | 3690